# DEPARTMENT OF CIVIL ENGINEERING

# TRAINING REPORT

# CONTENTS

- INTRODUCTION

- ABOUT PROJECT

- TECHNICAL REPORT

- SITE PLAN AND PLALLING OF BUILDING

- BUILDING MATERIAL

- REINFORCEMENT CEMENT CONCRETE AND

DESIGN PHILOSAPY

- EFFECTS OF THE AGGREGATES PROPERTIES

ON THE CONCRETE

- ADMIXTURES

- FROM WORK

- GENERAL NOTES

- INDEX

INTRODUCTION

The building is defined as any structure what so ever  purpose  and of whatsoever materials constructed and ever part thereof  whether used as  human habitation or not. For this practical  training.

I reported at Ansal palam vihar Gurgoan at Construction of defence services officers institute  at Ansal palam vihar Gurgoan in response to Mr. S. L. Baluja (General Manager) dated 12.05.2005. In connection with same, I have reported to Mr. A. K. Nijhawan (General Manager) at Ansal palam vihar Gurgoan furthers ordered me to join project site. The site incharge Mr. Jitendra  Singh  meet me at the site and gives me brief introduction of this project as under.

## The project on which I take practical training this project is a construction of a CLUB for the DEFENSE SERVISES OFFICERS.

## This project has the following features:

Location                           :   Ansal palm vihar gurgoan

Client                               :   Ansal Group, Delhi

Construction Company    :   Ahaluwaliya construction co.

Structural consultant        :   Pioneer Engg. Consultant

Cost of the Project           :   14.5 carore rupees

The building is fully air-conditioned. It have fire detection system and fire fighting system and escape way in the carious condition. This building is earth quack resistance. It has both lifts car lift and man lift. This building have fully power backup.

TECHNICAL   REPORT

1.  GENERAL

1.1     Name of work            Construction of defence

servises officers institute

1.2     Name of zone             Palam tringle, Ansal palam

vihar, gurgoan

1.3     Name of division       Gurgoan division

2.  LOCATION OF THE LAND

2.1      Location                    Palam tringle, near at BSNL

Teliphone exchange, Ansal

palam vihar, Gurgoan

2.2      Possession taken over/                 Taken over

not taken over

3.    REFERENCE OF APPROVED DRAWINGS

s.no.    Detail                  Drawing

1.        Site plan              --        Approved by the project

2.        Plans                               incharge shri Jitendra

3.        Section                            singh & chief architect

4.        Elevation

5.        detail of compound wall

6.        Sanitary / Water Supply &

Drawing System

7.         Electrification

8.        Other Drawing

4.    BRIEF SPECIFICATION              As recieved from

chief Architect

4.1       Foundation concrete:   Design mix concrete M-25

4.2       Foundation:                  R.C.C. Raft foundation

having slab thickness

700 mm

4.3        Wall:                     (a)  Basement outer wall of

R.C.C. Retaining type

in cement concrete M-25

(b)  Ground floor & first floor

other wall of R.C.C. in

cement concrete M-25 &

Brick masonry in cement

mortar 1:6 230 mm

thick with bricks of class

designation 100

4.4        Structure                        The complete structure is

of RCC frame structure in

M-25 concrete.

4.5         Interior finish/exterior    Shown in detailed in

finish/flooring/joinery/    index

white wash, cement

paint & painting

4.5       Sanitary & water                                                      supply fitting                            (a)  Conclealed G.I. fitting in

side building with brass

fitting.

(b)  Out side fitting are of

open type.

4.6       Other specifications   (a)  Expansion &Contraction

joint are provided.

(b)  bitumen treatment are

provided at the roof.

- Plasticizer used: cico plasticizer tape Crete P-151 polymer mix in the

concrete at the rate of 1%

of weight of cement used.

5.  ESTIMATE COST              The estimate cost of above

building comes to Rs. 14.5

crores of double basement

& three floor.

6. PLINTH AREA RATE        Rs. 2100 per Sq. Ft.            7. CONPONY FOR CONSTRUCTION                   Aluwaliya contrctors (india) ltd

SITE PLAN AND PLANNING OF THE     BUILDING

The planning of the building has the most important role in the civil engineering because well designed building has the comfort and good working conditions for the people who live and work in it.

The project on which I take training it is a construction of club for the defense officers. This building is designed very carefully by keeping the following views:

1:  Gymnasium

2:   Indoor Games

3:   Swimming Pool

4:   Car Parking

5:   CSD Canteen

6:   Shopping Complex

7:   Beauty parlour

8:   Cyber cafe

and many of the facility for the defense officers.

This building is situated in the ansal palm vihar gurgoan. There are the environmental condition is sun shiny and hot arid zone, good rain fall, good neighboring conditions. The facing of the building is south.

BUILDING MATERIAL

A building structure is composed of different types of the material these materials are either called as building material. The material use in the building on basis of the avaibility and cost. For construct a building the essential building material are as follow:

Cement

The cement often called the magic power is a fine ground material consisting of compound of lime ,silica alumina and iron. When mixed with water it forms a paste which hardened and bind the aggregates (sand, gravel, crushed rock, etc) together to form a durable mass called the Concrete. Cement is the binder that holds concrete and mortars together. Which is why it play the most critical role in giving strength and durability to your building. Cement uses for domestic building such as home are basically of three types.

- Portland Slag Cement:	Portland slag cement   (PSC) conforming to IS: 455 A combination of good quality blast furnace slag (from the iron steel industry) with clinker (which makes the OPC) and gypsum.

- Portland Pozzolana Cement:	Portland pozzolana cement (PCC) conforming to IS: 1489 A combination of flyash (from thermal power plant) with clinker and gypsum. pozzolana cement is prepared by grinding Portland cement clinker with pozzolana. This type of cement is largely used in marine structure.

- Ordinary Portland Cement:	     Ordinary Portland cement (OPC) 33 grade conforming to IS: 269, 43 grade conforming to IS: 8112 and 53 grade conforming to IS: 12269 A combination of clinker and gypsum of good quality. Ordinary Portland cement is manufactured by first burning at a very high temperature the mixture of calcareous (mainly calcium carbonate) and argillaceous (mainly clay) and then grinding the calcined product (i.e. clinker) with small amount of gypsum in to a fine power known as ordinary Portland cement.

Good quality cement has the following features:

- Reduced water requirement

- Improve Workability

- Less permissible to moisture

- Improved resistance to acid and chlorides

- Reduced heat of hydration

- Easier to finish

- Reduced shrinkage

- Reduced leaching problems because it is low as free lime

Manufacture Of Cement

Ordinary Portland cement is manufactured by crushing, milling and proportioning the following materials:

- Lime or calcium oxide, CaO:  form limestone, chalk, shell, shale or calcareous rock

- Silica, SiO2: from sand, old bottles, clay or argillaceous rock

- Alumina, AL2O3: from bauxite, recycled aluminum, clay

- Iron, FE2O3: from clay, iron ore, scrape iron and fly ash

- Gypsum, CaSO4.2H2O: found together with limestone

The materials with out the gypsum are proportioned to produce a mixture with the desired chemical composition and then ground and blended by one of two processes – Dry process and Wet process .The materials are then fed through a kiln at 2600 F to produce grayish black pellets known as clinker. The alumina and iron act as fluxing agents, which lower the melting point of silica from 3000 to 2600 F. After this stage, the clinker is cooled, pulverized and gypsum added to regulate the setting time. It is then ground extremely fine to produce cement.

The kiln resembles a large horizontal pipe with a diameter of 10 to 15 feet (3 to 4.1 meters) and a length of 300 feet (90 meter) or more. One end is raised slightly. The row mix is placed in the high end and as the kiln rotates the materials move slowly toward the lower end. For each tones of material that goes in to the feed end of the kiln, two thirds of a tone comes out the discharge end, called clinker. This clinker is in the form of marble sized pellets. The clinker is very finely ground to produce Portland cement. A small amount of gypsum added during the grinding process to control the cement’s or rate of hardening.

Flow Diagram For Cement Manufacturer

(Wet process)

Calcareous Material                               Argillaceous Material     Water

i.e., Lime stone                                          i.e. Clay

Crushing                                                      Washing ----------------------

Silos                                                  Storage Tank

|                       Hooper                         |

Wet Grinding Mill

Formation of Slurry

Correction Tank

Coal

Storage Tank

Crushing Mill                   Pump

Rotary Tank

Linker Cooler                      Gypsum

Grinding in Ball Mills

And Tube Mills

Cement Silos

Weighing and Packing in Bags

Dispatch

Cement Shorthand

Because of the complex chemical nature of cement, a shorthand from is use to denote the chemical compounds. The shorthand for the basic compound is:

Compound                 Formula         Shorthand form

Calcium Oxide            CaO                   C

(Lime)

Silicon Dioxide          SiO₂              S

(Silica)

Aluminum Dioxide     Al₂O₃           A

(Alumina)

Iron Oxide                    Fe₂O₃          F

Water                            H₂O                H

Sulfate                           SiO₃               S

Chemical composition of the clinker

The cement clinker formed has the following typical composition:

Compound        Formula         Shorthand      % by

form            weight

Tricalcium         Ca₃Al₂O₆         C₃A                 10

Aluminate

Tetracalcium    Ca₄Al₂Fe₂O₁₀     C₄AF              8

aluminoferrite

Belite or dicalcium    Ca₂SiO₅      C₂S                20

Silicate

Alite or tricalcium     Ca₃SiO₄          CS                 55

Silicate

Sodium Oxide            Na₂O              N                    )

Potassium Oxide         K₂O               K                    )Upto 2

Gypsum                       CaSO₄.2H₂O     CSH₂               5

These compounds contribute to the properties of cement in different ways

Tricalcium aluminate,  C₃A:-

It liberates a lot of heat during the early stages of hydration, but has little strength contribution. Gypsum slows down the hydration rate of CA. Cement low in CA is sulfate resistant.

Tricalcium silicate, C₃S: -

This compound hydrates and hardens rapidly. It is largely responsible for Portland cement’s initial and early strength gain.

Dicalcium Slicate, C₂S: -

CS hydrates and hardens slowly. It is largely responsible for strength gain after one week.

Ferrite, C₄AF:

This is a fluxing agent, which reduces the melting temperature of the row material in the kiln (from 3000 F to 2600 F). it hydrates rapidly, but does contribute much to strength of the cement paste.

By mixing these compounds appropriately, manufacturers can produce different types of cement to suites several construction environments.

Sand

These are cohesion less aggregates of either, rounded sub rounded, angular, sub angular or flat fragments of more or less unaltered rock of minerals consisting of 90% of particles of size greater than 0.06 mm and less than 2 mm. Alternatively, these are coarse grained cohesion less particles of silica derived from the disintegration of rock. These are of three types:

Coarse sand: It is one which contains 90% of particles of size greater than 0.6 mm and less than 2 mm.

Medium sand: It is one, which contains 90& of particles of particles size greater than 0.2 mm and less than 0.6 mm.

Fine sand: It is one, which contains 90% of particles of size greater than 0.06 mm and less than 0.2 mm.

Proper selection of sand is critical in the durability and performance of concrete mixture. It should be:

- Clear, angular and hard

- Free from clay, mica and soft, flaky material

- Graded, which means it should be a mix of fine, medium and coarse sand

- Fee from contaminates like sea salt

- Consistent in moisture (water) content which should not exceed 7%. When mixing concrete the moisture content must be taken in to consideration.

The price of sand includes three or four components- base cost, transportation, handling and number of intermediaries. Procuring sand in bulk directly from the source will be cheaper. Your neighborhood dealer in this case is likely to be costlier, except when you need smaller quantities.

Building Stone

Building stones are obtained from the rocks occurring in nature. The stones are used in to construct the foundation, super structure and many of the building component. The various stones derived from these types of rocks are as follows:

- Principal stones from igneous rocks: Granite, Basalt and Trap

- Principal stones from sedimentary rocks: Sand stone, Shale, Lime stone

- Principal stones from metamorphic rocks: Quartzite, slate and marble

Properties or requirement of good building stone:

A good building stone should posses several characteristics such as high strength (crushing strength>1000kg/cm²), high durability, sufficient hardness (coefficient of hardness>14), high resistance to wear, good fire resistance, specific gravity more than 2.7, crystalline structure, high impact value (toughness index> 13) low water absorption (percentage absorption after 24 hour less than 0.6), weather resistance and better appearance.

Bricks

Bricks are distinguished by their base (row) material and size. Standard brunt clay bricks come in the size 10" x 5" x 3". Modular bricks, rarely used because they are not easily available, come in the size 200mm x 100mm x 100mm (including mortar thickness) Fly ash bricks, sometimes also come in modular form.

Conventional bricks have a ‘frog’ (depressed / raised portion) on one of the larger surface bearing the manufacturer’s brand. These also provide a good mechanical key for bonding (lock ability) with mortar. The modular bricks do not have the frog on them. Fly ash bricks exhibit almost similar mechanical properties as brunt clay bricks. Exposed brickwork with precise pointing is possible if the shapes are perfect.

The four board categories of bricks used in construction:

1st class           2nd Class           3rd Class            Over brunt

Bricks               Bricks              Bricks                  Bricks

- Perfect in   Not so uniform   Much interior  Absolutely

Size/shape/    as 1st class          to 2nd class    out shape of

quality of      bricks in shape/   bricks in terms   and size,

burning     size/quality of     of shape/size    over burnt,

burning              and burning      fused with

more bricks,

with a honey

comb texture 2.Red to                                                          Dark red to

cherry                                                         black in colour

red in colour

3.Do not         DO not absorb

absorb more   more than 25%

than 15 to        water of own

17% of their    weight if kept

own weight     submerged

if kept              under water

submerged       for one hour

for one hour

under water

4.Suitable for    Good for brick                      These bricks

precision            work whenever                  are unsuitable

work such          subsequent                          for any kind

as exposed          plastering is                        of brickwork

brickwork            to be done                      and are only

used in broken

pieces for

consolidation of

foundation soil

and base of floor

###### Aggregate

‘Aggregates’ is a general term applied to those inert (that chemically inactive) material, which when bounded together by cement, form concrete. Most aggregates used in this country are naturally occurring aggregates such as sand, crushed rock and gravel.

Aggregates for concrete are divided into three categories:

- Fine Aggregates:  Most of which passes through 4.75 mm I.S. sieve and retained on 150 micron.

- Coarse Aggregates: Most of which passes through 63 mm I.S. sieve and retained on 4.75 micron.

- All in Aggregate: Mixed aggregate, as it comes from the pit or riverbed. It is some times used for unimportant work without separating into different sizes.

Properties of Natural Aggregates:

The properties should comply with the norms laid down in IS: 38-1970 Specification for C.A. and F.A. from natural sources for concrete. Aggregates should be chemically inert, strong, hard, durable, of limited porosity (water absorption when immersed in water for 24 hours should not be more than 10%.), free from adherent coating, clay lumps, coal and coal residues and should contain no organic or other admixture that may cause corrosion of the reinforcement or impair the strength or durability of the concrete. The shape (rounded, irregular, angular and flaky) and sizes of the aggregates should conform to the strength and workability requirements.

Uses of the Aggregates:

- Naturally occurring crushed stone aggregates can be used for producing any type of good concrete or R.C.C. for construction purpose.

- Broken brick aggregates is used to produce plain concrete but not suitable for R.C.C. which is lighter than broken stone aggregate.

- Air- cooled blast furnace slag, which is a by- product in the process of pig iron, forms a stronger and durable concrete when mixed with sand, and has a high fire resistance.

- Lightweight aggregate produce low density concrete, which can be used for interior parts of the building where high strength are not desired.

###### Reinforcement Steel

RCC stands for reinforced cement concrete. To enhance the load carrying capacity of the concrete it is reinforced with steel bars of different diameters provided in an appropriate manner. Such concrete is called reinforced concrete and the bars are called the reinforcement. These bare are provided at various locations to resist the internal forces, which are developed due to the loads acting on the structure.

Reinforcing steel contributes to the tensile strength of the concrete. Concrete has low tensile, but high compressive strength. The tensile deficiency is compensated by reinforcing the concrete mass through insertion of plain or twisted mild steel bars. Both branded and unbranded bars are available. It is wise to buy good brands the names of which are marked on the steel. During construction make sure that steel reinforcement is provided exactly as the engineering design specification.

Precautions:

- Steel bars/rods should be responsibly clean and free of rust.

- Bars that cannot be easily bent manually or mechanically should be rejected.

- Optimum length bars must not be chosen to reduce wastage in cutting.

- To avoid laps, shorter bars must not be accepted

- Welded length of the bars should not be accepted

Water

The strength and durability of concrete depends also on the amount of water mixed with it. Too much or to little water can adversely effect the strength of concrete. After concrete is cast, water is used to cure it so that the temperature is controlled and concrete matures slowly.

It is very important to use clean, potable water in quality concrete production. Brackish or salty water must never be used. Contaminated water will produce concrete mortars with lower durability, erratic set characteristics and inconsistent colour.

THE EFFECTS OF THE AGGREGATE PROPERTIES ON THE CEMENT CONCRETE

Concrete is a mixture of cementious material, aggregate and water. Aggregate is commonly considered inert filler, which accounts for 60 to 80% of the volume and 70 to 85% of the weight of the concrete. Although aggregate is considered inert filler, it is a necessary component that defines the concrete’s thermal and elastic properties and dimensional stability.

Physical and mineralogical properties of aggregate must be known before mixing concrete to obtain a desirable mixture. These properties include shape and texture, size gradation, moisture content, specific gravity, reactivity, soundness, and bulk unit weight. These properties along with water /cementitious material ratio determine the strength, workability and durability of the concrete.

The shape and texture of the aggregate affects the properties of fresh concrete more than hardened concrete. Concrete ids more workable when smooth and rounded aggregate is used instead of rough angular or elongated aggregate. Crushed stone produces much more angular and elongated aggregate, which have a higher surface to volume ratio better bond characteristics but require more cement paste to produce a workable mixture.

The surface texture of the aggregate can be either smooth or rough. A smooth surface can improve workability yet a rougher surface generates a stronger bond between the paste and the aggregate creating a higher strength.

The grading or size distribution of aggregate is an important characteristic because it determines the paste requirement for workable concrete. The required amount of the concrete paste is dependent upon the amount of void space that must be filled and the total surface area that must be covered. When the particles are of uniform size the spacing is the greatest but when a range of sizes is used the void spaces are filled, the less workable the concrete becomes, therefore, a compromise between workability and economy is necessary.

The moisture content of an aggregate is an important factor when developing the proper water/cementitious material ratio.

The density of the aggregate is required in mixture proportioning to establish weight- volume relationships.

#### REINFORCEMENT CEMENT

#### CONCRETE

Plain concrete is very strong in compression but its tensile strength is only about 1/10th of the strength in compression. So, the use of the plain concrete is limited to the structure in pure compression. Steel being equally strong in compression and tension, is, there fore, used to reinforce the concrete in a suitable way so that it can be used to build supporting structure where tension also develops. Concrete, thus reinforced is known as “reinforced concrete”.

This combination is made because long steel bars can develops its full strength where it cannot carry equal amount of compressive force due to its buckling which is caused by the slenderness. Thus, the combination of concrete and steel bars has proved to be ideal, as the two material are used to resist the stresses for which they are most suitable.

Properties of the reinforcement cement concrete

- The concrete develops very good bond with the surface of the steel bars and , there fore the stresses are transferred from one material to the other which cannot resist individually.

- The steel possesses a high tensile strength, a high modulus of elasticity and same coefficients of expansion and contraction as concrete. Due to equal linear coefficients, no internal stresses are set up within reinforced concrete due to variation in temperature.

- The coating of cement grout or paste on the surface of the reinforcement protects it from corrosion and at the same time it does not chemically react with the reinforcement.

Advantage of the reinforcement concrete:

- It is overall economical in ultimate cost.

- Its monolithic character provides more rigidity to the structure.

- It is highly durable and fire resisting. It is not affected by the vermin’s termite’s fungus or such other insects.

- Well-compacted R.C.C. structure is impermeable to moisture penetration.

- Care and cost of maintenance of R.C.C. structure are almost negligible.

- The fluidity of the concrete and flexibility of reinforcement make it to possible to mould the R.C.C. members into variety of shapes desired.

Design philosophy

R.C.C. design of building is being carried out mainly by three methods of design. They are namely: (1) Working stress method (2) Ultimate load method and (3) Limit state method.

The Limit state method is now is vogue in all government design offices and premier private consulting firms. The B.I.S. have published I.S.: 456-2000 incorporating the use of the Limit state method of design. The designer should therefore get well versed with the theory of Limit state method.

Working Stress Method: In this method the design is based on the working load and the criterion for the strength of the structure is its capacity to sustain the loads and forces imposed on it.

Ultimate Load Method:  The ultimate load method of design is based on a determination of the load at which a structure fails and a certain factor safety is obtained.

Used over decades, this method is now practically outdated in many advanced countries of the world, because of its inherent limitation

The I.S.: 456-2000 code gives emphasis on Limit State Method, which is modified from of Ultimate Load Method.

Limit State Method is a judicious amalgamation of Working Stress Method and Ultimate Stress Method, removing the drawback of both of the method but retaining their good points. It is also based on sound scientific principles and backed by 25 year of research.

The Limit State Method has proved to have an edge over the Working Stress Method from the economic point of view. Consequently we need no stick to Working Stress Method any more.

Accordingly design circle in P.W.D. is designing the R.C.C. structure as per Limit State Method.

Besides analytical part of the structural design, following factors should also be kept in mind while designing the structure.

- Strength of structure.

- Durability of structure.

- Serviceability of structure during construction as well as during design lifetime of structure.

- Economy in building material and ease of constructions.

- Economy in centering and formwork.

- Aesthetics of structure

Cement concrete

Cement concrete is a composite material used for construction of various civil engineering structures. It is obtained by mixing the basic ingredients such as cement, fine aggregate (normally sand) and coarse aggregate (normally stone pieces) in required proportions. Water is added in the required measure and the mixture is put into a mechanical mixer to achieve concrete. Concrete is poured into the formwork (mould made up of plywood, steel plates and timber) to get the desired shape. It is then vibrated to achieve proper compaction (uniform denseness). High temperature is generated through chemical reaction in this process. Curing (control of temperature) with water is essential to achieve the desired strength of the concrete.

Concrete gains compressive strength progressively with time. The strength achieved at the end of the 28 days is called the Characteristics Compressive Strength of the concrete and is designed as a Grade. About 60% of this strength is achieved at the end of the 7 days from the date of casting. Concrete continues to gain strength even beyond 28 days, albeit marginally. The form is subsequently removed. Different compressive strength of the concrete can be achieved by mixing the basic ingredients in different proportions. Being a material moulded at site, the durability of the concrete over a long period of time depends on its mixing, placement, vibration and curing which together contribute to its ‘workmanship’.

The following table shows guideline proportions for some commonly used grades of concrete:

Proportions of the concrete without fly- ash

Description      M20      M25       M30        M35      M40

O.P.C. cement   320/     370/         420/          439/     475/

Of 43 grade        6.4       7.4           8.4            8.78     9.5

(Kg)

20 mm Agg.      724/      709/         740/         721/      691/

(Kg)                   113.2    95.81      88.1        92.12    72.73

10 mm Agg.      480/      474/        497/        481/        372/

(Kg)                    75        64.05      59.17      54.78    39.15

sand                  564/       549/        454/        510/       644/

(Kg)                  88.12     74.19      54.05      58.08    67.79

water                208.6/    207.9/      207.5/   190.2/   182.2/

(lit.)                  32.59     28.1         24.74       21.66   19.19

Proportion of concrete with fly ash: -

O.P.C. cement    M25     M35

of 43 grade         350        451

(Kg)

Fly ash               60          127

(Kg)

Sand(Kg)      565       510

Agg. 10 mm   467     422

Agg. 20 mm   700     625

Water(lit)       186     199

Plastisizer      4.10

Properties of Cement concrete

### Strength of concrete:-

### It should be have high compressive strength. The tensile and shear strengths are generally about 8 to 12 % and 8 to 10 % of their compressive strength respectively.

The compressive strength of concrete is effected by several factors such as (a) quality of the material and grading of the aggregates (b) water (c) water cement ratio (d) cement content (e) age of the concrete (f) method of mixing placing compacting and curing

Workability of concrete

The concrete should have sufficient workability. The workability of the concrete indicates the ease with which it can be mixed, placed and compacted. Generally the strength decreases with increases of the workability.

Durability of concrete

The concrete posses a high durability value, as it is not much affected by atmospheric action. On the contrary, with the age, the concrete goes on hardening, thereby increase in the strength. It is this property, which gives this material a distinct place among the building material.

### Elasticity of concrete

The concrete is not a truly elastic material and elastic modulus is effect by the strength, age, and moisture content of the concrete and the type of the aggregate used. The concrete undergoes an extra strain in addition to instantaneous strain on application of a load or stress, sufficient time. T his extra strain is called ‘creep of concrete’ and is permanent in character not recovered on the removal of load.

### Shrinkage of concrete

The concrete has a tendency to shrink under following conditions:-

(a) There is initial shrinkage of cement concrete, which is mainly due to loss of water through forms, absorption by surface of forms.

(b) The shrinkage of cement concrete occurs as it is hardened. This tendency of shrinkage on one-hand causes cracks in concrete, while on the other, it grips the reinforcement tightly and hence proper bond between concrete and reinforcement when used in R.C.C. work

### Fire resistance of concrete

Concrete is good insulator and has a fairly good fire resistance owing to the presence of pores and also water.

Workability

Workability is the most elusive property of concrete. A concrete is said to be workable if it can be easily mixed, handled, transported, placed in position and compacted. A workable concrete should not show any segregation

Or bleeding.

The segregation is said to occur when the coarse aggregate tries to separate out from the finer material and this result in concentration of coarse aggregate at one place and fine material at another place in the mass concrete. The segregation creates larger voids and reduces the durability and strength both.

The bleeding of concrete is said to occur when excess water comes up at the surface of the concrete. This causes the undesirable small pores through the mass of the concrete.

The workability of the concrete effected by many factors: -

(a) Shape of the aggregates (b) grading and size of the aggregates (c) ratio and coarse and fine aggregates (d) efficiency of mixing (e) quantity of water and use of any mixture.

For maximum strength, the desired workability of fresh concrete can be attained by the following measure:

  - The proportion of coarse aggregate may be reduced, because the finer is the grading, the greater will be the workability.

  - The proportion of coarse aggregate may be reduced while on the other hand corresponding increases may be made in that of the finer aggregates.

  - The process of mixing concrete can be repeated second time by use of the vibrator.

  - Proportionate increases may be made in the quantity of water and cement as well such that the water cement ratio is maintained.

The suggested range of workability of concrete measured in accordance with IS 1199

Water cement ratio

Water cement ratio is the ratio of the water in a mix (excluding water absorbed already by the aggregate) to the weight of cement their in. ‘water cement ratio’ is the most important factor governing the strength of concrete. The strength of the concrete depend mainly open the amount of cement and the amount of water in it. The correct quantity

Of water cement ratio required for a particular mix depends upon various factors such as mix proportions, type and grading of aggregate, method of compaction applied and weather condition.

On the other hand workability of a concrete mix increases as the water content or water cement ratio of mix increased, because the water lubricate the mixture. But, at the same time increases in water content deceases the strength. Excess of water, further weaken the concrete, produces shrinkage cracks and decreases density.

Manufacture of the concrete

In the manufacture of concrete, it is almost important to ensure that a concrete of predetermined proportion is continuously placed in position in such a way that each batch almost like the other batches as far as possible.

### Batching of the concrete

After fixing the proportion of different ingredients of concrete for a particular work, the material C.A., F.A., cement and water measured out in batches for mixing. The process is known as Batching. This process of batching may be carried out by weight or by volume.

- Weight batching:-  The unit of weight, for material of concrete, is usually Kilogram. The batching of material by weight is absolutely straightforward, the cement, sand and coarse aggregate being all weighed directly in Kilogram.

- Volume batching:- In batching by volume, all ingredient i.e. water, cement, sand and coarse aggregate are measured in liters, where the resulting concrete (being) solid measured in cubic meters.

### Mixing of  concrete

Mixing of concrete may be carried out by hand or machine (by using a mechanical mixture) but the mixing by machine is always preferred.

- Mixing by hand:-  In this, mixing carried out by hand on a clean, hard and water tight platform. Firstly cement, sand, aggregate are mixed by hand with the help of the shovel and a desired quantity of the water added to it and mix properly. This type of mixing carried out in the small work and unimportant work.

- Mixing in machine: - The machine used for mixing concrete is known as mechanical concrete mixer. There are two main type of concrete mixer is commonly use namely:

Continuous mixers are used in massive construction such as dams, bridges, etc., which involve the use of large masses of concrete and also required the continuous flow of concrete.

Batch mixer is most commonly used and consisting of a revolving drum with blades or baffles inside it. In batch mixer, all the material of desired proportioned mix are fed into the hopper of the revolving drum on being rotated at a certain speed mixes the material with the aid of a series of blades providing inside, the resulting mix is finally discharged from the drum and conveyed for used.

Transportation of concrete

Transporting the concrete mix is defined as the transferring of concrete from the mixing plant to the construction site. Keep in mind that not all concrete is mixed on the actual construction site and could require some significant travel. This is most common for ready mixed concrete. The main objective in transporting concrete is to ensure that the water cement ratio, slump or consistency, air content, homogeneity are not modified from there intended states. The concrete transport commonly by the steel pipes.

Placing and finishing of concrete

Mixing, transporting, and handling of concrete should be carefully coordinated with placing and finishing operations. Concrete should not be deposited more rapidly than it can be spread, struck off, consolidation, and bull floated. Concrete should be deposited continuously as near as possible to its final position. In slab construction, placing should be started along the perimeter at one end of the work with each batch placed against previously dispatched concrete. Concrete should not be dumped in separate piles and then leveled and worked together; nor should the concrete be deposited in large piles and moved horizontally into final position.

Consolidation

In some types of construction, the concrete is placed in forms, and then consolidated. The consolidation compacts fresh concrete to mold it within the forms and around embedded items and reinforcement and to eliminate stone pockets, honeycomb and entrapped air. It should not remove significant amount of intentionally entrained air.

Vibration either internal or external is the most widely used method for consolidating concrete. When concrete is vibrated, the internal friction between the aggregate particles is temporarily destroyed and the concrete behave like a liquid; it settles in the forms under the action of gravity and the large entrapped air voids rise more easily to the surface. Internal friction is reestablished as soon as vibration stops.

Finishing

Concrete that will be visible, such as slab like driveway, highway or patios often need finishing. Concrete slabs can be finished in many ways, depending on the intended service use. Options include various colors and textures, such as exposed aggregate or a patterned stamped surface. Some surface may require only strike off and screeding to proper contour and elevation, while for other surface a broomed, floated, or troweled finish may be specified. In slab construction screeding or strike off is the process of cutting off excess concrete to bring the top surface of the slab to proper grade. A straight edge is moved across the concrete with a sawing motion and advanced forward a short distance with each movement.

Bull floating eliminates high and low spots and embeds large aggregate particles immediately after strike off. This look like a long handled straight edge pulled across the concrete. Joining is required to eliminate unsightly random cracks. Construction joints are made with a groover or by inserting strips of plastic, wood, metal, or performed joints material into the unhardened concrete. Saw cut joints can be made after the concrete is sufficiently hard or strong enough to prevent the reveling. After the concrete has been jointed it should be floated with a wood or metal hand float or with a finishing machine using float blades. This embeds aggregate particles just beneath the surface; removes slight imperfections, humps, and voids; and compacts the mortar at the surface in preparation for addition finishing operations. Where a smooth, hard, dense surface is desired, floating should be followed by steel troweling. Troweling should not be done on a surface that has not been floated; troweling after only bull floating is not an adequate finish procedure. A slip resistant surface can be produced by brooming before the concrete has thoroughly hardened but it should be sufficient hard to retain the scoring impression.

Curing of concrete

Curing is one of the most important step in concrete construction, because proper curing greatly increase concrete strength and durability. Concrete hardened as a result of hydration: the chemical reaction between cement and water. However, hydration occurs only if water is available and if the concrete temperature stays within a suitable range. During the curing period from five to seven days after placement for conventional concrete the concrete surface needs to be kept moist to permit the hydration process. New concrete can be wet with soaking hoses, sprinklers or covered with wet burlap, or can be coated with commercially available curing compounds, which seal in moisture.

After concrete is placed, a satisfactory moisture contents and temperature (between 50º F and 75º F) must be maintained, process called curing. Adequate curing is vital to quality concrete. Curing has a strong influence on the properties of hardened concrete such as durability, strength, water tightness, abrasion resistance, volume stability and resistance to freezing and thawing and deicer salts. Exposed slab surfaces are especially sensitive to curing. Surface strength development can be reduced significantly when curing is defective.

Curing the concrete aids the chemical reaction called hydration. Most freshly mixed concrete contains considerably more water than is required for complete hydration of the cement; however, any appreciable loss of water by evaporation or by otherwise will delay or prevent the hydration. If temperature are favorable, hydration is relatively rapid the first few days after concrete I s placed; retaining water during this period is important. Good curing means evaporation should be prevented or reduced.

Removal of the formwork

The period for which forms should be left in place depends upon the temperature of air, the shape and position of structural member (i.e. horizontal vertical or inclined), the nature of the loads likely to come and the character of the cement and cement paste. Generally, the use of rapid hardening cement, higher temperatures, low water cement ratio and lighter loads, will permit early removal of formwork.

Under normal conditions where temperature is above 20ºC and ordinary cement is use, forms may be removed after the expiry of the period given below:

Particulars of the structural                period of

member                                         removing of formwork

(a) Vertical slides of slabs, beams           24 to  48 hours

columns and wall

(b) Slabs (props or vertical supporting        3 days

member left under)

(c) Beams soffits (props left under)             7 days

(d) Bottom of slabs up to a span                   7 days

of 4.5 m.

(e) Bottom of slabs above 4.5 m                   14 days

span, bottom of the beams up

to 6 m span, and bottom of arch

ribs up to 6 m span

(f) Bottom of beams over 6 m span                    21 days

and bottom of arch ribs over 6 m span

Placing of concrete in hot weather

In tropical countries such as India, air temperature may rises up to 50C during summer month. Such temperature combined with the high wind velocity and low humidity the rate of the evaporation of the water increase the rate of the hydration of cement, which reduce the setting time of the concrete and due to rapid evaporation of the water t5here is increase drying and shrinkage which tend to develops the cracks soon after placing even before hardening is completed.

Water forms about 1/6 & 1/8 the total weight of concrete. The quantity of mixing water in a unit of concrete is decided primarily by the workability desired. So due to accelerate hydration and to increase the workability and maintain the required consistency, water content will have to be increase and due to this the concrete not develop its full strength.

As far as possible cold weather should be used for the concreting. In hot weather, protect the concrete from exposure to sun and drying hot winds with wet gunny bags or hers ion cloth as far as possible and pounding should start water curing as soon as possible.

Common tests on the fresh concrete

Concrete is tested to ensure that the material that was specified and bought is the same material delivered to the job site. There are a dozen different test methods for freshly mixed concrete and at least another dozen tests for hardened concrete, not including test method unique to organization like the Army Corps of Engineers, the Federal Highway Administration, and State department of transportation.

Slump, air content, unit weight and compressive strength tests are most common tests.

- Slump is a measure of consistency, or relative ability of the concrete to flow. If the concrete can’t flow because the consistency or slump is too low, there are potential problems with proper consolidation. If the concrete won’t stop flowing because the slump is too high, there are potential problems with mortar loss through the formwork, excessive formwork pressure, finishing delays and segregation.

- Air content measure the total air content in a sample of fresh concrete, but does not indicate what the final in-place air content will be, because a certain amount of air is lost in transportation Consolidating, placement and finishing. Three field tests are widely specified: the pressure meter and volumetric method are ASTM standards and the Chace Indicator is an AASHTO procedure.

- Unit weight measures the weight of a known volume of the fresh concrete.

- Compressive strength is testes by pouring cubes of fresh concrete and measuring the force needed to break the concrete cubes at prescribed interval as they harden. According to Building Code Requirements for reinforced concrete (ACI 318) as long as no single test more than 500 psi below the design strength and the average of three consecutive tests equals or exceed the design strength then the concrete is acceptable. If the strength tests don’t meet these criteria, steps must be taken to raise the average.

#### ADMIXTURES

Admixtures are defined as the material other than the aggregate, water and cement added to the concrete. The use of suitable admixture can result in the enhancement the performance of concrete.

### Types of Admixture

Air Entraining Agents

Air entraining agents are used primarily to increase the resistance of freezing and thawing. They also supply greater resistance to deicing chemicals, improve workability, lower water demands for a particular slump, reduce the amount of fine aggregate needs in the mixture, reduce segregation and bleeding, increase durability, and improve pump ability. Even though air entrainments have no effect on drying shrinkage, they do create a slight loss in the concrete strength.

Water Reducing Agents

A certain amount of the water is added to concrete to make the concrete place able and to ignite the hydration reaction of Portland cement. Over 50% of the water have no useful effect and have direct results in drying shrinkage, durability, and the strength of concrete. Water reducing agents added to the concrete reduce the water demands of the mix, maintain the workability, increase the strength, reduce the cost, reduce bleeding, reduce segregation, reduce honeycombing, reduce cracking and permeability, increase bond strength of concrete to steel, and reduce drying shrinkage. An average of 12-15 % reduction in the total water content will attain this goal.

Set Retarding Agents

These agents are primarily used for delaying the setting time of concrete. Set retards are useful, but are not the solution to poorly designed mixes, inferior materials, or low cement factors. The set retarder must be uniformly dispersed throughout the whole mix. Failure to do so will result in the admixture remaining in voids, causing some areas to remain plastic. This leads to plastic shrinkage.

Accelerating Agents

Accelerating agents are used to shorten the setting time and increase the early strength of the concrete. These agents are mainly used for concrete needing to be used immediately.

Calcium chloride

Calcium chloride is generally used in cold weather to hasten the setting time and produces an early finish of the concrete. Calcium chloride can effect the characteristics of concrete causing temperature rise, increased internal stresses, corrosion of unprotected reinforcement, a decrease in the resistance to freeze, an increase in the attack of sulfates, and an increase in the amount of drying shrinkage between 10 to 50 %.

FORMWORK

‘Temporary Supporting Structure’ is those structures, which are temporarily required in building construction either for supporting the laying of concrete till it gets matured, such as formwork or forms or shuttering. As fresh concrete is in a plastic state, when it is placed for construction purposes, so it becomes necessary to provide some temporary structure to confine and support the concrete, till it gains sufficient strength for self-supporting. The temporary structure is known as Formwork or shuttering.

Requirement of the formwork

God forms for concrete structure should satisfy the following requirements;

- It should be strong enough to resist the pressure or the weight of the fresh concrete and the superimposed loads due to equipment, men etc. This requires careful design of formwork, because the consideration of overloads will affects the economy whereas of under loads may cause failure of the forms work.

- It should be rigid enough to retain the shape without undue deformation.

- It must be made or constructed so light that it does not allow the cement paste to leak through the joints.

- The inside surface of the formwork should be smooth so as to give good appearance to the resulting concrete surface. To achieve this, the inside surface of formwork is usually applied with crude oil or soft soap solution. This also facilitates the removal of the formwork.

- The entire formwork should be so made that it can be removed easily without causing the least injury to the surface or edges of the concrete.

- It should be made economical by reducing the cost through proper design, construction and use of formwork.

GENERAL NOTES

The general notes specify the quantities and quantities of materials, the proportion of the mortar, workmanship. The method of preparation and execution and the methods of the measurement.

The company prepares the general notes of various items of work, and gets them printed in the book from under the name of general notes. Some of the general notes are given below related to Building Construction.

1. Earthwork in excavation in foundation:-

- Excavation- Foundation trenches shall be dug out to the exact width of the foundation concrete and the sides shall be vertical. If the soil is not good and does not permit vertical sides, the sides should be sloped back or protected with timber shoring.

- Finish and Trench- the bottom of the foundation trenches shall be perfectly leveled both longitudinally and transversally and the sides of the trench shall be dressed perfectly vertical from bottom up to least thickness of lose concrete may be laid to the exact width as per design. The bed of the trench shall be tightly watered and well rammed. Soft or defective spots shall be dug out excess digging if done through mistake shall be filled with concrete.

- Water in Foundation- water if any accumulates in trench. Should be baled or pumped out without any extra payment and necessary precautions shall be taken to prevent surface water to enter in trench.

- Trench Filling- after the concrete has been laid and masonry has been constructed, the remaining portion of the trench shall be filled up with earth in layers of 51 cm and watered and well rammed.

- Measurement- the measurement of the excavation shall be taken in cu m as for rectangular trench, bottom width of concrete multiplied by the vertical depth of the foundation from ground level and multiplied by the length of the trench.

2. Foundation

- The foundation of the building should be so planned and the lay out of the foundation should be on the ground should be correct in the measurement.

- Should not place the concrete in the foundation before checked by the Engineer-in charge.

- If building has the basement more than two raft foundations should be provided.

- In the P.C.C. it should be in the ratio of 1:4:8 and 75 mm thick 75 mm projected beyond raft foundation.

- The concrete provided in the raft foundation should be M-25 grade conforming to IS456.

- The design and thickness of the raft foundation provided by the soil testing.

- Schedule of the raft foundation

Grade of   Thickness             Reinforcement

Concrete     D       T       continuous      extra    distribution

mm     mm    b11    t11   t12  t21  t22  t23

M-25      1300      700    20      20                                 16@

@     @                                  200

- 120

3. Reinforcement Concrete Work

- All reinforcement shall be of tested quality high yield strength deformed bars conforming to IS 1786 shall be used as reinforcement steel.

- The lap length of bars shall be equal to Ҟ  (splice factor) X Dia of small bar. The value of  Ҟ shall be as per following table:-

Grade of the        value of the splice factor

concrete               for column          for other

M-20                       40                          50

M-25                       35                          45

M30                        35                          45

M-35                      30                           40

M-40                      30                           40

Lapping of bars shall be suited staggered and in no

case more than 50% bars shall be lapped at any

section.

- The chair to support the raft foundation bars can be provided at the distance of the one-meter.

- The length of the anchorage should be 300mm

- The reinforcement should be provided as per the detailed drawing specification.

- The bars of the reinforcement should straight not be in the zigzag manner.

- Check the slump of the concrete when concrete is placing.

- Clean cover to the main reinforcement shall be as follows:

Structural element                        Top         Bottom     Sides

1. Footing/raft                            50             50             50

- Column dimension                 -                -               25

up to 230

- Column dimension up            -                -               40

above 230

- R.C.C. wall up to 150 thk.      25           25               25

- R.C.C. wall above 150 thk.     40          40                40

- Beams                                     25           25                25

- Lintel up to 200 depth            15           15                15

- Lintel above 200 depth           25           25                40

- Slab & chhaja                         15           15                25

4. Brick Work I Class

  - Bricks- all bricks shall be first class of standard specification, made of good brick earth thoroughly brunt, and shall be keep cherry red and copper colour, brick should be regular in shape and other edges should be sharp and small emit clear ringing sound on being struck, and shall be free from crack, chips, flaws and lumps of any kind. Brick shall not absorb water more than one-sixth of their weight after one hour of soaking by immersion in the water. Brick shall have a minimum crushing strength of 105 Kg per sq cm (1500 lbs per sq in.)

  - Mortar- For mortar, cement shall be fresh Portland cement of standard specification. Sand shall be clean and free from organic and foreign matters. For rich mortar coarse or medium sand used and for weak mortar local fin sand may be used. Proportion of the cement sand mortar may be of 1:3 as specified.

  - Material of mortar shall be measured to have the required proportion and first mixed thoroughly by turning at least three times. Fresh mixed mortar shall be use, old and stale mortar shall not be used and mortar for one-hour work only shall be mixed with water so that the mortar may be used before setting starts.

  - Soaking of brick- brick shall be fully soaked in clean water by submerging in tank for a period of 12 hour immediately before use.

  - Laying- brick shall be well bonded laid English bond. Every course shall be truly horizontal and wall shall be truly in plumb vertical of consecutive coarse shall not come directly over one another. Vertical joints in alternate course shall come directly over one another. Mortar joints shall not exceed 6 mm in thickness and joints shall be fully filled with mortar.

  - Curing- the brickwork shall be kept wet for a period of at least 10 days after laying. At the end of days work the topes of the walls shall be flooded with water by making small weak mortar edging to contain at least 2.5 cm deep water.

  - Protection- the brickwork shall be protected from the effect of sun, rain, frost etc. during construction and until such time it is green and likely to be damaged.

  - Scaffolding- necessary and suitable scaffolding shall be provided to facilitate the construction of the brick wall. Scaffolding shall be sound and strong and sup[port and members sufficiently strong so as to withstand all loads likely to come upon them.

  - Measurement- brickwork shall be measured in cu m different kinds of brickwork with different with different mortar shall be taken under separate items. The width of wall shall be measured as multiple of half brick. The rate shall for the complete work including scaffolding and tools and plants.

5. Plastering

- The joints of the brick work shall raked out to a depth of 12 mm and the surface of the wall washed and clean and kept wet for the two days before plastering. The material of mortar should be of standard specification.

- The thickness of the plastering shall be of 12mm to ensure uniform thickness of plaster; patches of 15 cm shall be applied first at about 2 m apart to act as guide. First mortar shall be dashed and pressed over the surface and then brought to a true smooth and uniform surface by means of float and trowel. Wall plastering shall be started from top and worked down towards floor,. Ceiling plastering shall be completed before starting of wall plaster. All corner and edge shall be rounded. The plastered surface shall be kept wet for 10 days the surface should be protected from rain, sun, frost, etc.

- For wall plastering 1:5 cement mortar and for ceiling plastering 1:3 cement mortar with coarse sand is used.

6. 25 cm Cement Concrete floor

- The cement concrete shall be of proportion 1:2:4 cement shall be fresh Portland cement of standard specification.  The coarse aggregate shall be hard and tough of 3 cm gauge, well graded and free from dust, dirt, etc. the sand shall be coarse of 5 mm maximum size and down, well graded, clean and free from dust, direct and organic matters.

- The floor shall be leveled and divided into panels or bays of maximums size or 1.2m x1.2m and the sides of the panels shall be bounded with teak wood battens 2. cm thick and 5 cm wide or flat iron of same thickness and fixed with weak mortar, or with nails or hooks.  Required camber or slope should be given in floor for draining wash water.

- Mixing of concrete shall be down by measuring with boxes to have the required proportion as specified. First cement and sand mixed dry and the dry mix of cement and sand mixed with ballast dry, and the mixed by adding water slowly and gradually to the required quantity, and mixed thoroughly to have a uniform plastic mix.

- Base – In ground floor the c.c. floor shall be laid on a 7.5cm base of weak cement concrete as per standard specifications.

7. White washing

- Fresh white lime slaked at site of work should be mixed with sufficient water to make a thin cream. It shall then be screened through a coarse cloth, and gum in proportion of 100 gms of gums to 16 liters of wash shall be added.

- The surface should be dry and thoroughly cleaned from dust and dirt. The wash shall be applied with Moonj or jute brush, vertically and horizontally. And the wash kept stirred in container while using. Two or three coats shall be applied as specified, and each coat shall perfectly dry before the succeeding coat is applied over it. Dry before the succeeding coat shall be applied as specified, and each coat shall be perfectly dry before the succeeding coat is applied as specified, and each coat shall be perfectly dry before the succeeding coat is applied over it. After finishing the surface shall be of uniform colour. The white wash should not splash on the floor and other surfaces. In old surface, the surface should be cleaned and repaired with cement mortar where necessary and allowed to dry before white wash is applied.

8. Wood work

- All wood work of which the scantling exceeds 20 sq cm in section and which is not specially moulded or carved comes under carpenter’s work. This include all timer work in choukhats of door and windows, in roof works as beams, struts, ties, rafters, purlins, in timber bridge, etc.

- the timber shall be of the kind as specified, may be teak, shisham, sal, deodar, etc. the timber shall be of best quality, well seasoned and free from sap, knots, warps, creaks, and other defects. All woodwork shall be planed, and neatly and truly finished to the exact dimensions. Al joints shall be neat and strong, truly and accurately fitted, and coated with white lead before being fitted together.

- All portions of timber built into or in contact of masonry or concrete shall be given two coats of solignum or tar or other approved preservatives, exposed surface of timber shall be painted with two coats of approved paint over a coat of priming.

- All beams shall be bedded on plates with a minimum bearing of 25 cm and 6 mm clear air space shall be left on each side.

- Measurement of wood work shall be taken in cu m for the finished work fixed in position including sawing, planning, joining, nails, screws etc. painting of wood work shall be measured under separate item.

INDEX

# Basic data for the Building

A.  (1). Thickness of the raft                                                0.70 m

(2). Projection of raft beyond footing                             0.50 m

(3). Projection of raft beyond basement                         0.50 m

(4). Depth of sand filling on the raft                               0.50 m

(5). Thickness of P.C.C. below raft                                0.075 m

(6). Projection of P.C.C. beyond raft                              0.075 m

(7). Depth of lift pit                                                         1.70 m

B.    Floor Height

(1). Top of pad to first basement level                            4.00 m

(2). Top of first basement to ground level                       3.30 m

(3). Ground floor to first floor                                         4.20 m

(4). First to second & second to third floor                     4.20 m

(5). Third floor to roof                                                     4.15 m

C.    Depth of excavation

(1). First lift                                                                     1.50 m

(2). Second lift                                                                 7.375 m

## Quantity of work proposed

S. no.       Item description                     unit         quantity        total       R/F

A.       Earth work

(1).  Earth work in the excavation       cum          5878           5878

up to 1.5 m

(2).  Earth work in excavation below  cum          26370         26370

1.5 m

(3).  Earth in back filling                     cum           5278          5278

(4).  Disposal of surplus earth work    cum           26970        26970

(5).  Sand fill on the raft                      cum           1393          1393

B.       Total P.C.C. (1:4:8)                     cum            276.6        276.6

C.       Reinforcement Concrete

(1). Raft M-25                                     cum            2401.7                        80

(2). Retaining wall M-25                    cum             78.5                           120

(3). Water tank wall M-25                 cum               69                             120

(4). Pedestal M-35                             cum               269.6                        200

(5). Column M-35                             cum               232.2                        320

(6). Column M-30                             cum               331.0                        240

(7).  Beam M-35                                cum               1533.2                      180

(8). Water tank base slab M-25         cum               64.4                            80

(9). Water tank top slab M-25           cum               21.7                            80

(10). Slab M-25                                 cum                1394.73                     80

(11). Staircase M-25                          cum                98.58                       160

(12.) Sump M-25                               cum                68.88                        80

(13). Slab on grade M-20                  cum                 286.74                     60

(14). Mics.                                         cum                 200.0                      100

## Total                                         cum                 7492.12

## D. Shuttering

(1). Raft                                             Sq. m.              311.38

(2). Retaining wall                             Sq. m               4173.33

(3). Pedestals M-35                           Sq. m               273.29

(4). Columns                                      Sq. m               4012.2

(5). Beams                                         Sq. m                   9597.1

(6). Slabs                                            Sq. m               7353.5

(7). Water tank base slab                   Sq. m                338

(8). Water tank top slab                     Sq. m                1084

(9). Water tank wall M-25                 Sq. m                389.8

(10). Staircase                                    Sq. m                492.9

(11). Sumps                                       Sq. m                 196.8

(12). Mics.                                        Sq. m                 400.0

## Total                                         Sq. m                26942.4

E.   Reinforcement                            metric tones          943

F.   Covered slab area                           Sq. m                 11446.4

G.   Rein/ area of slab                           Kg/ Sq. m          82.4

H.   Rein concrete  (Kg.)                                                 125.8

I.    Conc./area of slab                          cum/ Sq. m        0.65

J.    Shuttering                                                                 3.60

## Specification for the floor, paint, ceiling & door and window

### Banquet Hall

Flooring                                 Marble flooring with udaipur green border

Wall                                           Textured paint

Ceiling                                       POP false ceiling with cornice

Door & windows                       Paneled & Glazed

### Bar/ Restaurant/ Dining room

## Flooring                                     Marble flooring

Wall                                                texture paint with panel of stone and tile

combination

Ceiling                                       POP false ceiling

Door & windows                       paneled & glazed

### Swimming pool

Internal                                       Glazed tiles

Deck area                                    Red agra & Dhaulpur combination flooring

### Kitchen/ Pantry

Flooring                                     Polished kota stone/ Non skid tile

Wall                                           Ceramic tile up to 7 feet

Ceiling                                       White wash over plaster

Door & window                         Flush door & glazed paneled window

### Toilet/ Changed room

## Flooring                                  Udaipur green & jaisalmer yellow combination

Counters                                  Granite stone

Chinaware                               pleasing pastel colours

Fitting                                      C.P. single lever fitting

Dado                                        ceramic tiles up to 7 feet

Door/ window                          Flush door & glazed paneled window

Kids entertainment/ Squash/ Bridge/ Card room/ Carom/ Library/ Gym/ Billiards room/ Conference room/ ATM/ Mini cinema

Flooring                                  Udaipur green & jaisalmer yellow combination

Walls                                       Textured paint

Ceiling                                    Gypsum board false ceiling

Door & windows                    paneled & glazed

### Suites/ Double room

Flooring                                  Carpet over IPS flooring

Wall                                         Textured paint

Ceiling                                     POP false ceiling

Door & windows                     paneled & glazed

# Schedules of the different structural elements

- Schedules of the raft

S.no.   grade of    thickness          reinforcement                     distribution

concrete    D.    T       continuous          extra

t11   t11    t12    t21    t22   t23

M-25        20     20                                                          16@200

@      @

- 120

# Schedules of the ramp wall reinforcement

s.no. wall       wall       wall       Base         vertical                 Horizontal

mkd.     Thick    height    width        a1    a2           b1   b2   c1    c2

1.    Rm w1   300      up to        2050       12    16            12    12   10   10

3000                     @      @           @   @     @   @

240    240        240  240  240   240

2.   Rm w2   450      3000         2750       12     16           12    12   10    10

-4000                       @    @             @   @    @   @

240   240         240  240  200 200

3. Rm w3    550       4000         3350       16    20            16   16    10    10

-5000                       @     @             @   @    @   @

220   220         220  240 175 175

Levels of the basement & floor levels

+17950 mm

Roof terrace

+13800 mm

Third floor

+9600 mm

Second floor

+5400 mm

First floor

+1200 mm

Ground floor

0.00 mm

-----------------------------------   Ground level

-3300 mm

First basement

-7500 mm

Second basement

-8800 mm

P.C.C. level

Test result from the site

1. Cube testing of design mix M-25:

Casting date :       24/5/05        Mix proportion:        Design mix

Grade:                      M-25       Location of casting: Basement raft  Water cement ratio: 0.53           Cement content: 350Kg/m3

Slump:   140mm (concrete by batching plant & concrete plant)

Required strength: 175Kg/m3 on 8 days

No.       weigth of          cross section     due date       max. load      7 days

the specimen         area                for 7 days      (Kg)           strength

gm                   cm2                 strength                          Kg/cm2

1.          7850                   225                    31/5/05        21000            120

2.          7895                   225                                       32000            142.22

3.          7895                   225                                       31000            137.77

4.          7865                   225                                       30000            133.33

Average stregth after 7 days testing is found:  133.33   Kg/cm2

Remarks:   only 53% of 250 Kg/cm2   strength is taken by the cube so initial strength is low.

Action: control Watre cement ratio of batching plant strictly for better result.

(there are another test results this is a sample test report)

2.  Test for coarse aggregate

(a)   For 10 mm size

Specific gravity         2.67

Voids content           50.5%

s.no.          sieve size           % passing                   according to table-2 of Is

383-1970 % passing for

10mm single size

1.                 40 mm                100                                    -

2.                 20mm                 100                                    -

3.                 10mm                 86.9                                   85-100

4.                 4.75mm              0                                        0-10

The above result conform coarse aggregate of 10 mm single size aggregate.

(B)   For 20 mm size

Specific gravity    2.69%

Void content         49.4%

S.no.               sieve size          % passing                      according to table-2 of Is 383-1970

% passing for 20mm single size

1.                      40 mm                100                                         100

2.                      20 mm                95.75                                       86-100

3.                      10 mm                1.75                                         0-20

4.                       0                        0                                              0-5

The above result compare coarse aggregate of 20 mm single size. The proportion of the above two size (10 mm & 20 mm) were 0.33:0.67 in proposed mix.

SLIT TEST

The slit found in the sand sample is 10.34%

F.M. (sieve test)- 3.6%

Remarks: the slit content is beyound the permissible limit, make slit test mandatory before getting material unloaded at site.